## Self Evaluation Checklist
GRIHA AH v.1 Feasibility Checklist
Please note: several criteria in this feasibility sheet have fixed dropdowns. For those criteria, please select the points being attempted through selecting the correct option from the drop down.
Name of Project
Rating Attempted |  |  |  |  | 0 | 0 | 0 | 0 | 0
Cr. No. | Criterion name |  | Max Points | Points Attempted | [5 empty] | LEGEND
I - Site Planning |  |  | 16 | 0 | [5 empty] | Section Header | Rating Threshold | Star Rating
1 | Low Impact Design | [8 empty] | Criterion Header | 25-40 | ê
Demonstrate reduction in environmental impact through design by adoption of various passive design and low-impact site planning strategies. |  |  | 4 | 0 | [5 empty] | Dropdown Selector for strategies/thresholds | 41-55 | êê
Select the number of strategies adopted | [9 empty] | Dropdown Selector for predetermined points | 56-70 | êêê
Demonstrate use of active, low-energy cooling/heating systems in the building. |  |  | 2 | 0 | [5 empty] | Mandatory Criterion | 71-85 | êêêê
Criterion Total |  |  | 6 | 0 | [5 empty] | Applicability Check | 86 and above | êêêêê
2 | Design to Mitigate UHIE | [8 empty] | Points to be entered manually
The percentage of total site area (visible to sky but not including the landscape area) which is either soft paved AND/OR covered with high SRI coating > 0.5 AND/OR shaded by trees/vegetated pergolas/solar panels AND/OR any combination of these strategies |  |  | 3 | 0
Select one of the options from below
Criterion Total |  |  | 3 | 0
3 | Preservation and Protection of Landscape during Construction
Applicability Check There are existing mature trees on site that can be preserved |  |  | Yes
Top soil is fertile or can be made fertile through organic means |  |  | Yes
All existing mature trees on site are preserved OR Transplant mature trees within the site and ensure they survive OR Plant 3 trees for every 1 tree cut of the same native/naturalized species OR Any combination of these for all mature trees on site |  |  | 0
Increase total number of trees on site by 25% above the pre-construction phase OR Plant 4 trees for every 1 tree cut of the native/naturalized species |  |  | 1 | 0
Preserve top soil during construction, maintain its fertility (during construction phase) and use for landscape post-construction |  |  | 2 | 0
Criterion Total |  |  | 3 | 0
4 | Storm Water Management
Ensure that the excess runoff generated above the pre-construction run off is managed within the site |  |  | 1 | 0
Ensure that 100% post construction storm water runoff quantity is managed within the site |  |  | 1 | 0
Criterion Total |  |  | 2 | 0
5 | Reduction in Air and Soil Pollution during Construction
Adopt at least 3 measures adopted on site to curb air pollution during construction |  |  | 0
Develop and implement a spill prevention plan (to control effects of spill from hazardous materials like bitumen, diesel etc.) on site. |  |  | 1 | 0
Adopt staging during construction AND Adopt strategies to prevent/reduce movement of soil (not top soil) outside the site through adoption of various strategies (like soil erosion channels, sedimentation control etc.) |  |  | 1 | 0
Criterion Total |  |  | 2 | 0
II - Energy & Occupant Comfort |  |  | 25 | 0
6 | Envelope Thermal Performance
Peak heat gain through building envelope should meet the thresholds of Building Envelope Peak Heat Gain Factor. |  |  | 2 | 0
Demonstrate reduction in peak cooling load (percentage) over the base case |  |  | 6 | 0
Select the reduction in peak cooling load (percentage) over the base case
Criterion Total |  |  | 8 | 0
7 | Occupant Visual Comfort (Daylight)
Minimum percentage of total built up area that should meet the below mentioned threshold for meeting the UDI requirements for 90% of the potential day light time in a year |  |  | 5 | 0
Select the percentage of area meeting UDI requirements
Criterion Total |  |  | 5 | 0
8 | Efficient Lighting
All lighting fixtures installed in outdoor spaces and indoor common areas shall have a minimum luminous efficacy of 75 lm/W. |  |  | 2 | 0
Criterion Total |  |  | 2 | 0
9 | Energy Efficient Equipment
All the following equipment falling under the scope of the developer must be at least BEE 3-star rated |  |  | 2 | 0
Motors
Transformers
Criterion Total |  |  | 2 | 0
10 | Renewable Energy
Rated capacity of the renewable energy system installed on site conforms to installation @1kWp per 500 sq.m of total built-up area thresholds |  |  | 6 | 0
Select the percentage of total calculated installation
Criterion Total |  |  | 6 | 0
11 | Energy Metering
Install a dedicated energy meter for each dwelling unit. |  |  | 0
Install dedicated energy meters, each for outdoor spaces and indoor common area lighting. |  |  | 1 | 0
Install energy meter on renewable energy system to measure the energy generated (if installed) |  |  | 1 | 0
Criterion Total |  |  | 2 | 0
III - Water Savings |  |  | 19 | 0
12 | Efficient use of water during construction
Adopt at least 2 strategies to reduce the consumption of potable water during construction |  |  | 1 | 0
Use of treated waste water/captured rain water. |  |  | 1 | 0
Criterion Total |  |  | 2 | 0
13 | Optimization of building & Landscape water demand
Reduce the total water requirement in the building over the base case. |  |  | 5 | 0
Select the percentage reduction of the total water requirement in the building over the base case
Reduce the total landscape water requirement over the base case. |  |  | 4 | 0
Select the percentage reduction of the total landscape water requirement over the base case.
Criterion Total |  |  | 9 | 0
14 | Water reuse
Sewage treatment plant (STP) must be provided to treat 100% of the sewage water (grey water and black water combined) |  |  | 2 | 0
Re-use of treated water (from STP) and rainwater (from storage tanks) within project site. |  |  | 5 | 0
Select the percentage of water reuse
Criterion Total |  |  | 7 | 0
15 | Water metering
Installation of water meters at Fresh water inlet : municipal supply/bore well & STP outlet |  |  | 0
Installation of sub water meters at each dwelling unit within the project site |  |  | 1 | 0
Criterion Total |  |  | 1 | 0
IV - Solid Waste Management |  |  | 7 | 0
16 | Construction Waste Management
Develop and implement a construction waste management plan in compliance with the norms laid under Construction and Demolition Waste Management Rules, 2016 |  |  | 1 | 0
Criterion Total |  |  | 1 | 0
17 | Post Construction Waste Management
Applicability Check Is the total waste generation on site less than 100 kg/day |  |  | No
Adoption of solid waste management plan in compliance with norms elaborated under Solid Waste Management Rules, 2016. AND Provide infrastructure for primary collection (door to door/chute system) & segregation (multi-colored bins) of solid waste at unit/occupant level AND Provide designated secondary waste management areas within the project site for safe and hygienic storage of collected solid waste. |  |  | 3 | 0
Provide contractual tie-ups with CPCB (Central Pollution Control Board) authorized waste recyclers for safe recycling for recyclable wastes like metal, paper, plastic, glass etc. |  |  | 1 | 0
Provide infrastructure facilities for treating all the organic waste/biodegradable solid waste on site and converting it to resources such as manure, bio gas etc. |  |  | 2 | 0
Criterion Total |  |  | 6 | 0
V - Sustainable Building Materials |  |  | 17 | 0
18 | Reduction in environmental impact of construction
Applicability Check Choose between any one of the 3 alternatives |  |  | Alternative 1
Alternative 1 - Utilization of BIS recommended waste materials in building structure
Minimum (x%) replacement of sand, aggregate or Ordinary Portland Cement (OPC) with any BIS recommended waste by weight of cement used in structural concrete. |  |  | 4 | 0
Select from one of the options below
Minimum 40% composition of building blocks/bricks by any BIS recommended waste by volume, for 100% load bearing and non-load bearing masonry walls. |  |  | 2 | 0
Criterion Total |  |  | 6 | 0
Alternative 2 - Use of recycled materials in building structure
Utilization of minimum (x%) recycled content in structural formwork. |  |  | 0 | 0
Select from one of the options below
Utilization of minimum 40% recycled content in infill panels. |  |  | 0 | 0
Criterion Total |  |  | 0 | 0
Alternative 3 - Embodied energy calculation
Demonstrate reduction in combined embodied energy of structure and walls by at least (x%) below the base case. |  |  | 0 | 0
Select from one of the options below
Criterion Total |  |  | 0 | 0
19 | Use of low-environmental impact materials in building interiors
Demonstrate that at least (x%) of all materials used for building interiors meets the GRIHA requirement of low-impact material. |  |  | 5 | 0
Select from one of the options below
Criterion Total |  |  | 5 | 0
20 | Use of recycled content in roads and pavement
Utilization of minimum 8% recycled waste (as per CRRI/IRC recommendations) in road construction by volume of materials for 100% of the bituminous roads on site |  |  | 2 | 0
Utilization of minimum 10% recycled waste in construction of pavements by volume of materials for 100% of all material used in the pavements on site. |  |  | 2 | 0
Criterion Total |  |  | 4 | 0
21 | Low VOC paints, adhesives, sealants and composite wood products
Ensure that all interior paints are low-VOC and lead-free, all adhesives and sealants used shall be low-VOC and that interior composite wood products do not use urea-formaldehyde as a bonding resin. |  |  | 2 | 0
Criterion Total |  |  | 2 | 0
22 | Zero ODP materials
All the insulation used in the building should be CFCs and HCFCs free. |  |  | 0
The fire suppression systems and fire extinguishers installed in the building should be Halon free. |  |  | 0
Criterion Total |  |  | 0
VI - Social Aspects |  |  | 16 | 0
23 | Facilities for Construction workers
Applicability Check Are the families of construction workers allowed to live and work at the site |  |  | Yes
Ensure compliance with the NBC (2016) safety norms for providing the necessary safety equipment and measures for construction workers. |  |  | 0
Ensure provisions for drinking water, hygienic working & living conditions and sanitation facilities for the workers. |  |  | 0
Provide a crèche facility for children of construction workers. |  |  | 1 | 0
Criterion Total |  |  | 1 | 0
24 | Universal accessibility
Compliance with National Building Code norms on Requirements for Planning of Public Buildings Meant for Use of Physically Challenged. |  |  | 2 | 0
Criterion Total |  |  | 2 | 0
25 | Proximity to Transport and Basic Services
The distance of transportation facilities (formal & informal) shall be less than 500 m from the main entrance of the project. |  |  | 1 | 0
The average distance of basic services from the main entrance of the project shall be lesser than the following thresholds. |  |  | 5 | 0
Select the thresholds for average distance of basic services from the main entrance of project
Provision of designated area within project boundary for setting up of informal market with the following necessary infrastructure facilities.
Covered Area |  | No | 1 | 0
Waste Management Scheme |  | No | 1 | 0
Availability of Drinking water |  | No | 1 | 0
Toilet Facility |  | No | 1 | 0
Criterion Total |  |  | 10 | 0
26 | Environmental awareness
Adopt at least 2 measures to create environmental awareness amongst the building occupants. |  |  | 2 | 0
Criterion Total |  |  | 2 | 0
27 | Tobacco Smoke Control
Adopt measures to ensure zero exposure of non-smoking occupants to tobacco smoke. |  |  | 0
Criterion Total |  |  | 0
28 | Water Quality
To ensure quality of water from all sources (ground water and municipal water) conform to IS Standard [IS 10 500 – 1991]. |  |  | 0
Criterion Total |  |  | 0
29 | Provision of access to clean sources of cooking fuel
To ensure provision of necessary infrastructure to facilitate building occupants to avail safe access to clean sources of cooking fuel (PNG, LPG, etc.). |  |  | 1 | 0
Criterion Total |  |  | 1 | 0
|  |  | 100 | 0
30 | VII - Bonus Points for Innovation |  | 4 | 0
Total |  |  |  | 0
Total (Percentile) |  |  | 0

## List of Criteria_GRIHA AH (hidden)
GRIHA AH v.1 Feasibility Checklist
Please note: several criteria in this feasibility sheet has fixed dropdowns. For those criteria, please select the points being attempted through selecting the correct option from the drop down.
Sr. No. | Criterion | Appraisal | Points
0. Prescriptive Requirements for AH rating
A | Liveability index (AH built up area thresholds) | Mandatory
B | Site Selection | Mandatory
C | Optimum availability of water | Indicative
1. Sustainable Site Planning |  |  | 16
1 | Low Impact Design |  | 6
2 | Design to Mitigate UHIE |  | 3
3 | Preserve and Protect Landscape During Construction | Partly mandatory | 3
4 | Storm Water Management | Partly mandatory | 2
5 | Reducing Air and Soil Pollution during Construction | Partly mandatory | 2
2. Energy & Occupant Comfort |  |  | 25
6 | Envelope Thermal Performance |  | 8
7 | Occupant Visual Comfort (Daylight) | Partly mandatory | 5
8 | Efficient Lighting |  | 2
9 | Energy Efficient Equipment |  | 2
10 | Renewable Energy |  | 6
11 | Energy Metering | Partly mandatory | 2
3. Water Savings |  |  | 19
12 | Efficient water use during construction |  | 2
13 | Optimizing building & Landscape water demand | Partly mandatory | 9
14 | Water reuse |  | 7
15 | Water Metering | Partly mandatory | 1
4. Solid Waste Management |  |  | 7
During Construction
16 | Construction waste management |  | 1
17 | Post Construction waste management |  | 6
5. Sustainable Building Material |  |  | 17
18 | Reduce the embodied energy of building structure |  | 11
19 | Use of recycled content in roads and pavement |  | 4
20 | Low VOC paints, adhesives, sealants and composite wood products |  | 2
21 | Zero ODP insulation / fire systems | Mandatory | -
6. Social Aspects |  |  | 16
22 | Facilities for Construction workers for crèche | Partly mandatory | 1
23 | Universal accessibility |  | 2
24 | Proximity to Transport and Basic Services |  | 10
25 | Environmental awareness |  | 2
26 | Tobacco Smoke Control | Mandatory | -
27 | Water Quality | Mandatory | -
28 | Provision to access for clean sources of cooking fuel |  | 1
29 | Bonus Points |  | 4
29 | Total Points |  | 104

## Sheet3 (hidden)
Select the number of strategies adopted
Select the number of strategies adopted | Not attempting | 0
| 2 Strategies | 1
| 3 Strategies | 2
| 4 Strategies | 4
Select one of the options from below
Select one of the options from below | Not Attempting | 0
| More than 25% | 1
| More than 50% | 3
There are existing mature trees on site that can be preserved | Yes
No
Top soil is fertile or can be made fertile through organic means | Yes
No
Select the reduction in peak cooling load (percentage) over the base case
Reduction in peak cooling load (percentage) over the base case | Not Attempting
3%
6%
9%
12%
Select the percentage of area meeting UDI requirements
Percentage of area meeting UDI requirements | Not Attempting
25%
50%
75%
90% and Above
Select the percentage of total calculated installation
Percentage of total calculated installation | Not Attempting | 0
| 25% | 1
| 50% | 2
| 75% | 4
| 100% | 6
Are there any faucets, which are installed in spaces with water head heights less than 5 meter or 17 feet, in a gravity fed system | Yes
No
Percentage reduction of the total water requirement in the building over the base case. | Select the percentage reduction of the total water requirement in the building over the base case | 0
| 20% | 0
| 25% | 1
| 35% | 3
| 50% | 5
Select the percentage reduction of the total landscape water requirement over the base case.
Percentage reduction of the total landscape water requirement over the base case. | Not Attempting | 0
| 25% | 1
| 35% | 2
| 50% | 4
Select the percentage of water reuse
Percentage of water reuse | Not Attempting | 0
| > 25% | 1
| > 50% | 3
| > 75% | 5
Is the total waste generation on site less than 100 kg/day | Yes
No
Choose between any one of the 3 alternatives | Alternative 1
Alternative 2
Alternative 3
Are the families of construction workers allowed to live and work at the site | Yes
No
Select the thresholds for average distance of basic services from the main entrance of project
Thresholds for average distance of basic services from the main entrance of project | Not Attempting | 0
| < base case | 1
| 25% < base case | 3
| 50% < base case | 5
Covered Area | Yes
No
Waste Management Scheme | Yes
No
Availability of Drinking water | Yes
No
Toilet Facility | Yes
No

## Sheet4
0
2
0
1
0
3
Select from one of the options below | 0
Not Attempting | 0
15% | 2
25% | 4
Select from one of the options below | 0
Not Attempting | 0
2.5% | 2
5% | 4
Select from one of the options below | 0
Not Attempting | 0
10% | 2
20% | 2
30% | 4
Select from one of the options below | 0
Not Attempting | 0
25% | 1
50% | 3
70% | 5
0
1
2
3
4